| Mfg. Date | : | None | Exp. Date | : | None |
| --- | --- | --- | --- | --- | --- |
| Test Request Sheet No. | : | None | A.R. No. | : | 2026 VFY 348 |
| Batch Size | : | 25 kg | Quantity Sampled | : | None |
| Received Date | : | None | Testing Date | : | None |
| Reference Specification/MOA No. | : | SPEC/VFY/01MOA/VFY/01 | Issuance Stamp by QA |  |  |
| Completion Date | : | None |  |  |  |

| Sr. No | Tests |  | Results | Limits |
| --- | --- | --- | --- | --- |
| 1. | Appearance |  | Pass | White crystalline powder |
| 2. | Assay |  | 99.50 | NLT 99 % |

Note: Above mentioned product complies / does not comply as per IP specification.

| 1 | Appearance: |  |
| --- | --- | --- |
| Procedure: Pharmacopoeia: IP Sample prep: Visual inspection Result: Pass Acceptance criteria: White crystalline powder Conclusion: Pass Analyzed By: Kavya Patel Checked By: Meera Iyer |  |  |

| 2 | Assay: |  |
| --- | --- | --- |
| Procedure: Pharmacopoeia: IP Sample prep: Titrate sample Readings: Result: 99.5 Calculated Result: 99.5 Result: 99.50 Acceptance criteria: NLT 99 % Conclusion: Satisfactory Analyzed By: Kavya Patel Checked By: Meera Iyer |  |  |