| Test | Result | Acceptance Limits | Conclusion |
| --- | --- | --- | --- |
| Description | Pass | White crystalline powder | Pass |
| pH | 6.10 | Between 5.9 and 6.3 | Satisfactory |
| Chlorides | 50.00 | NMT 100 ppm | Satisfactory |
| Loss on drying | 0.25 | NMT 0.5 % | Satisfactory |
| Assay | 95.00 | Between 98.5 and 101.5 % | Not Satisfactory |

does not comply as per IP specification