| 1.0 |  | NEWER-SPEC-MUTATED: |  |
| --- | --- | --- | --- |
| Procedure: Pharmacopoeia: IP Visual examination per pharmacopoeia. Acceptance Criteria: White crystalline powder |  |  |  |
| 2.0 |  | NEWER-SPEC-MUTATED: |  |
| Procedure: Pharmacopoeia: IP Measure pH at 25 °C. Acceptance Criteria: 5.9 to 6.3 |  |  |  |
| 3.0 |  | NEWER-SPEC-MUTATED: |  |
| Procedure: Pharmacopoeia: IP Limit test for chlorides. Acceptance Criteria: NMT 100 ppm |  |  |  |
| 4.0 |  | NEWER-SPEC-MUTATED: |  |
| Procedure: Pharmacopoeia: IP Dry at 105 °C to constant weight. Acceptance Criteria: NMT 0.5 % |  |  |  |
| 5.0 |  | NEWER-SPEC-MUTATED: |  |
| Procedure: Pharmacopoeia: IP Titrimetric assay per IP monograph. Acceptance Criteria: 98.5 to 101.5 % |  |  |  |